Pipe connection set
suitable for Kabuflex/Unicor

Article Code: RAS4
Article number: 5199991115
GTIN: 4052487235105
Brand: Hauff-Technik

For connecting corrugated pipes DN 75 to the single-line building entry system.

Material: Profile seal: EPDM; Double sleeve: PE-HD
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