**System cover**

with plug-in socket for smooth cable ducts

For use in wall insert and plastic flange HSI150. For connecting smooth cable ducts. Quick plug-in installation without additional connection components. Tested according to FHRK test basis with FHRK quality seal.

Material: System cover: polycarbonate; Clamping nut: PC/PBT blend; Plug-in socket: EPDM or plug-in sleeve: PVC-U

Tightness: gastight and watertight to 0.5 bar

Features: Mechanical fixing (bayonet) and seal (clamping nut) act independently; Bayonet system with return lock and locking screw connection (for protection against automatic opening); Elastic plug-in connection with moulded rubber part (OD 110 and 125 mm)

Article Code: HSI150 D GSM

GTIN: -

Brand: Hauff-Technik

**Hauff-Technik Swiss AG**

**Manufacturer information**

Hauff-Technik Swiss AG
Grabenackerstrasse 7
4702 Oensingen, SWITZERLAND

Telefon +41 62 206 00-70
Fax +41 62 206 00-79
htch.anfrage@hauff-technik.ch
http://www.hauff-technik.ch