**Single building entry MIS**

with membrane injection system

Universal house entry with membrane injection system for drill holes in the most common wall types for inserting and sealing the gas section through the cellar wall. In addition, two micropipes 7 mm or 10 mm can be inserted. For direct installation in holes with Øi 99 - 103 mm, in all common wall types with wall thicknesses up to 600 mm.

Dimensions: For core drills Ø: 99 - 103 mm; For wall thicknesses: from 240 to 600 mm

Material: Flange component, wall rosette, membrane hose: EPDM; Resin filler hose: PE; Fast arrangement fixture: glass fibre reinforced polyamide/ABS; Sealing tape: butyl

Application range: Water exposure class DIN 18533: W1-E and W2.1-E; Waterproof concrete stress class 1 and 2

Tightness: gastight and watertight to 1.0 bar

Tests/Standards: DVGW VP 601

Features: Universal building entry with membrane injection system for drill holes in the most common types of wall; Controlled ejection of resin through slit membrane hose

Article Code: MIS100D 1x58-64 Gas

GTIN: -

Brand: Hauff-Technik

**Hauff-Technik Swiss AG**

**Manufacturer information**

Hauff-Technik Swiss AG
Grabenackerstrasse 7
4702 Oensingen, SWITZERLAND

Telefon +41 62 206 00-70
Fax +41 62 206 00-79
htch.anfrage@hauff-technik.ch
http://www.hauff-technik.ch