**Swan neck roof entry**

Swan neck entry suitable for all standard flat roof structures. The seal with the cables is established with SKD press seals (not included in the scope of delivery) which have been specially adapted to the swan neck entry.

Material: St37 hot-galvanised

Features: Individual components make for low transport weight

Article Code: SHD

GTIN: -

Brand: Hauff-Technik

**Hauff-Technik Swiss AG**

**Manufacturer information**

Hauff-Technik Swiss AG
Grabenackerstrasse 7
4702 Oensingen, SWITZERLAND

Telefon +41 62 206 00-70
Fax +41 62 206 00-79
htch.anfrage@hauff-technik.ch
http://www.hauff-technik.ch