**System cover**

cable seal with cold shrink-fit method

System cover. The cold shrink sleeves support a wide area of application. They are shrunk onto the cables by the system cover socket without tools.

Material: System cover with socket: polycarbonate; Clamping nut: PC/PBT blend; Shrink tubing: EPDM; Centring strap: EPDM

Tightness: gastight and watertight to 2.0 bar

Features: Mechanical fixing (bayonet) and seal (clamping nut) act independently; Bayonet system with return lock and locking screw connection (for protection against automatic opening)

Article Code: HSI90 D KS

GTIN: -

Brand: Hauff-Technik

**Hauff-Technik Swiss AG**

**Manufacturer information**

Hauff-Technik Swiss AG
Grabenackerstrasse 7
4702 Oensingen, SWITZERLAND

Telefon +41 62 206 00-70
Fax +41 62 206 00-79
htch.anfrage@hauff-technik.ch
http://www.hauff-technik.ch