**Site power supply entry**

for secondary substations

Site power supply entry for temporary power supply and/or emergency supply to secondary substations, for cable entry into the station above ground while construction work is in progress.

Dimensions: Frame dimensions: 120x 120 mm

Material: Connection frame: ABS; Adapter pipe: PVC

Article Code: BD

GTIN: -

Brand: Hauff-Technik

**Hauff-Technik Swiss AG**

**Manufacturer information**

Hauff-Technik Swiss AG
Grabenackerstrasse 7
4702 Oensingen, SWITZERLAND

Telefon +41 62 206 00-70
Fax +41 62 206 00-79
htch.anfrage@hauff-technik.ch
http://www.hauff-technik.ch