**SEGMENTO**

Segments for installation in HSI150 S3 system cover

Segment for particularly gentle cable sealing of micropipes and control lines, straightforward installation of the segments which can be combined at will, retrofitting is easy thanks to individual clamping.

Material: Press plates: glass fibre reinforced polyamide; Sealing material: Technogel

Tightness: gastight and watertight to 0.5 bar

Features: Particularly flexible and gentle sealing with Technogel; Integrated torque control; Areas of application are easily identifiable as the segments are colour-coded

Article Code: SEG

GTIN: -

Brand: Hauff-Technik

**Hauff-Technik Swiss AG**

**Manufacturer information**

Hauff-Technik Swiss AG
Grabenackerstrasse 7
4702 Oensingen, SWITZERLAND

Telefon +41 62 206 00-70
Fax +41 62 206 00-79
htch.anfrage@hauff-technik.ch
http://www.hauff-technik.ch