**ETGAR extension set**

For ETGAR BHP

Extension set for expanding the ETGAR building developer package for building services outlets. Comprising: 30-m corrugated pipe DN 75 green 4 pieces of extension sleeves 2 pieces of sleeve caps MS75 EW 1x24-40+3x7-12 2 pieces of sleeve caps MS75 K 1x13-21+3x7-13+1x5-13

Material: Corrugated pipe: PE; Sleeves/caps: EPDM/A2

Tightness: gastight and watertight

Article Code: HAB ETGAR VLS

GTIN: -

Brand: Hauff-Technik

**Hauff-Technik Swiss AG**

**Manufacturer information**

Hauff-Technik Swiss AG
Grabenackerstrasse 7
4702 Oensingen, SWITZERLAND

Telefon +41 62 206 00-70
Fax +41 62 206 00-79
htch.anfrage@hauff-technik.ch
http://www.hauff-technik.ch